| Item Name | Units | Data Type | Size in bits | Notes |
| --- | --- | --- | --- | --- |
| timetag | gps | Double | 64 | Time of event in gps |
| level1Version |  | Byte | 8 | Version of file |
| Channel |  | Byte | 8 | ID of the channel |
| orbitNum |  | Int | 32 | Orbit number during which the event occurred. |
| fileId |  | Int | 32 |  |
| productId |  | Smallint | 16 |  |
| charge | Number of electrons | Double | 64 | Charge generated from each event |
| qualityFlag |  | Int | 32 | Integer representing various two-state quality flags. |
| threshold | Number of electrons | Double | 64 | Minimum number of electrons to qualify as event |
| sigPlus | Number of electrons | Double | 64 | Plus sigma for charge generated |
| sigMinus | Number of electrons | Double | 64 |  |

Notes:

- All events are turned into charge regardless of whether or not they are suspected as noise events.  This will be dealt with later.

- This data is created from the calibration curves established on the ground.  These curves are a function of temperature, channel number, and DN.